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[bookmark: _Toc481754778]School Details 
Establishment: 	Holy Trinity CofE Primary School, Sunningdale 
Address:				Church Road
					Sunningdale 
					Ascot
Berkshire
					SL5 0NJ
Local Authority Area:		Windsor and Maidenhead
URN:					110018
LA/Establishment Number:	868/3322
Surveyor Visit Date:		16 December 2024 
Engineer Visit Date:		16 December 2024 
Surveying Organisation:		Aecom
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PLEASE DOWNLOAD THE CDC2 SCHOOL SITE PLAN TO READ IN CONJUNCTION WITH THIS REPORT
CDC2 School Condition Report V1.0
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[bookmark: _Toc256000016][bookmark: _Toc256000000][bookmark: _Toc481754780][bookmark: _Toc61418905]Section 1: Overview 
[bookmark: _Toc256000017][bookmark: _Toc256000001][bookmark: _Toc481754781][bookmark: _Toc61418906]Purpose of the Condition Data Collection 2 (CDC2) Programme 
The CDC2 programme is a data collection exercise being undertaken by the Department for Education (DfE). Data is being collected on the condition of buildings of all government funded educational establishments in England.
The programme is designed to enable a fair distribution of capital maintenance funding to responsible bodies such as academy trusts, local authorities and dioceses. Its use to DfE can be summarised as: 
· Enabling capital allocations which are informed by school condition 
· Identifying school blocks in need of replacement
· [bookmark: _Toc491265381][bookmark: _Toc256000003][bookmark: _Toc481754783][bookmark: _Toc485042933]Supporting the development of capital allocations policy 
[bookmark: _Toc256000018][bookmark: _Toc256000002][bookmark: _Toc61418907]About the CDC2 School Condition Report
The CDC2 school condition reports are set out in the table below. 
	Document 
	Information Provided

	School Condition Word Report (this report)
	Summary and condition information about each block

	School Photo Pack
	All photographs, including condition and roof photos

	School Site Plan
	A site plan marked up with site boundary lines and block references used by DfE for the CDC2

	School Condition Spreadsheet Report
	All CDC2 condition data recorded against your school and buildings, in spreadsheet form for easier analysis


Table 1: Descriptions of CDC2 documents available to schools
[bookmark: _Toc256000019][bookmark: _Toc256000004][bookmark: _Toc61418908]What can I use my CDC2 School Condition Report for? 
CDC2 condition data for your school is presented in this report for your information and use. Please note: the words ‘school’ or ‘schools’ as used in this report refer to schools and all other educational establishments within scope of CDC2.
CDC2 data is designed to provide a consistent and comparable view of condition across the education estate. The data collection process is not invasive nor a structural survey, and the report generated from the data is not suitable for asset management purposes on its own.
This is because the report:
· Does not report on hazardous materials (e.g. asbestos)
· Does not address critical health and safety (H&S) requirements
· Does not assess a school’s compliance with all statutory and legislative responsibilities
· Does not assess building capacity or suitability issues
· Does not propose remedial actions to address condition issues
· Does not include any cost information
[bookmark: _Hlk68607788]The CDC2 school condition report, can, however:
· Help you build an understanding of condition need at your school
· Highlight condition issues which need attention or further investigation (e.g. through a full condition survey or project feasibility study)
· Provide a view of roof condition
· Provide photographic evidence of condition issues (C, D, Bx and Cx only)
· Be used by academies and trusts in support of Condition Improvement Fund (CIF) bids alongside your own detailed condition surveys
[bookmark: _Toc485042934]

[bookmark: _Toc256000021][bookmark: _Toc256000006][bookmark: _Toc61418909]CDC2 School Condition Report Content and Structure
This report is split into three sections plus an annex containing guidance:
	Section 1 – Overview
	An overview of the CDC2 programme, methodology and school condition report content

	Section 2 – Site and Block Summary Information
	Summary information and photographs for each block on your site(s)

	Section 3 – Condition Data Summary Tables
	The ‘poor’ and ‘bad’ condition and priority grades recorded for your buildings and school external site areas (including playing fields)

	Annex A – How to Read this Report
	Guidance on how to read Section 3


[bookmark: _Toc485042935]Table 2: Report content summary
[bookmark: _Toc256000022][bookmark: _Toc256000007][bookmark: _Toc61418910]CDC2 Methodology
[bookmark: _Toc485042936]Buildings at each school are divided into ‘blocks’ which are identified by their age and construction type. Where schools have more than one site the report provides details for the blocks in each site. Some buildings on your site may be split into more than one block.
A total of twelve common building elements (e.g. roofs, floors/stairs, ceilings) have been visually assessed by CDC2 surveyors during the site visit, and have a condition grading and a priority rating attributed to them.  
Further information about the condition assessment methodology used by CDC2 surveyors can be found in the CDC2 programme guide.


[bookmark: _Toc256000024][bookmark: _Toc256000009][bookmark: _Toc61418911]Providing Feedback
You will have the opportunity to provide feedback via the web-based CDC2 school feedback survey. You will have received a hyperlink to the CDC2 feedback survey contained in the condition report notification email. 
 (
You have limited time in which to complete your feedback survey
Your
 
f
eedback 
s
urvey
 response
 must be completed within 
three weeks
 of receiving the
 condition report notification
 email.
  
If a school condition report is released outside of term time, the 
f
eedback 
s
urvey deadline will be extended.
)
[bookmark: _Toc256000025][bookmark: _Toc256000010][bookmark: _Toc61418912]Section 2: Site and Block Summary Information
This section contains summary information about each block on each site. A photograph of each block is provided, together with the DfE block reference  (“EFAA”, “EFAB”, etc.) and surveyor assessed age range for the block, floor area and other descriptive information.  
A ‘site’ refers to the parcel of land used by a school with a reference (e.g. “EFA1”). A separate parcel of land (e.g. separate playing fields) will have a separate site reference.
The site and block references used correspond to those used on the CDC2 site plan.
 (
Further guidance on how to access the CDC2 
s
ite 
p
lan, 
s
preadsheet 
r
eport and 
p
hoto 
p
ack documents is 
set out in the school condition report notification email or can be accessed on the CDC2 page on 
gov.uk
.
 
You will need to have your CDC
2
 
site p
lan
 and photo pack
 to hand when reading this report. 
The site plan
 provides a visual key to the block references used in Section 3 of this report.  
)

[bookmark: _Toc256000026][bookmark: _Toc256000011][bookmark: _Toc61418913]Block Information Summary Table
	Site
	Block
	Block Age Range
	GIFA (m2)

	EFA1
	EFAA
	Pre 1900
	1484

	EFA1
	EFAB
	2011-2020
	76


	
Total GIFA: 1560 m2
(Total GIFA does not include ANC blocks)
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[bookmark: _Toc481754793][bookmark: _Toc256000027][bookmark: _Toc256000012][bookmark: _Toc61418914]Block Listing
Summary details for each block are shown below.  
Blocks named “ANC1”, “ANC2” etc. are ancillary blocks which are not used specifically for education purposes, such as sheds, ex-caretaker bungalows in residential use and garages. CDC2 surveyors do not collect full condition information for ancillary blocks and they are not listed in the table below.

 
	

	Site
	EFA1

	
	Block
	EFAA

	
	Building Age
	Pre 1900

	
	No. of Storeys
	2

	
	Basement Area (m2)
	0

	
	Gross Internal Floor Area (m2)
	1484

	
	Ground Floor GIFA (m2)
	1345

	
	Perimeter (m)
	277

	
	Average Height (mm)
	4600

	
	Catering Kitchen 
	Yes



 
	

	Site
	EFA1

	
	Block
	EFAB

	
	Building Age
	2011-2020

	
	No. of Storeys
	1

	
	Basement Area (m2)
	0

	
	Gross Internal Floor Area (m2)
	76

	
	Ground Floor GIFA (m2)
	76

	
	Perimeter (m)
	27

	
	Average Height (mm)
	2625

	
	Catering Kitchen 
	No
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[bookmark: _Toc481754794][bookmark: _Toc256000028][bookmark: _Toc256000013][bookmark: _Toc61418915]Section 3: Condition Data – Poor & Bad Condition Elements
Section 3 presents a summary of the condition information and photographs collected by the surveyors and engineers at the school visit for construction types assessed as C, D, Bx and Cx (C=poor, D=bad, Bx and Cx = requiring full replacement). Where there are different grades of condition apparent across a construction type, a percentage grade is applied. As each of the tables below only presents a subset of the all the condition grades applied, the aggregated condition grades will not always add up to 100%. Please note that if your school doesn’t have any Bx, Cx, C or D condition grade elements, the section below will be blank. 

A full table of all condition gradings is available in the school CDC2 spreadsheet report, available separately for download via the CDC2 portal.

The table row headings and condition grades used here and in the CDC2 spreadsheet report are explained in Annex A of this report. 

Summary Tables - Construction types assessed as Bx, Cx, C, D   


	
	Photo Reference
	EFA1/11.07.01

	
	Location
	EFA1

	
	Element Code
	11.07.01

	
	Element/Sub Element
	11. Site Areas & External Areas / 11.07. Fences, Walls, Barriers etc (Exc. Site Boundary) /

	
	Construction Type     
	Brick / Block / Concrete / Stone

	
	Condition Grade Bx%
	0

	
	Condition Grade C%  
	15

	
	Condition Grade Cx%
	0

	
	Condition Grade D%  
	0


110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) Survey 

	
	Photo Reference
	EFAA/01.02.01

	
	Location
	EFAA

	
	Element Code
	01.02.01

	
	Element/Sub Element
	01. Roofs / 01.02. Flat Roof Covering and Insulation /

	
	Construction Type     
	Flexible Sheet; Single Ply or Built Up

	
	Condition Grade Bx%
	0

	
	Condition Grade C%  
	50

	
	Condition Grade Cx%
	0

	
	Condition Grade D%  
	


110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) Survey 

	
	Photo Reference
	EFAA/01.02.06

	
	Location
	EFAA

	
	Element Code
	01.02.06

	
	Element/Sub Element
	01. Roofs / 01.02. Flat Roof Covering and Insulation /

	
	Construction Type     
	Glazed Areas / Rooflights

	
	Condition Grade Bx%
	0

	
	Condition Grade C%  
	50

	
	Condition Grade Cx%
	0

	
	Condition Grade D%  
	


110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) Survey 

	
	Photo Reference
	EFAA/01.03.02

	
	Location
	EFAA

	
	Element Code
	01.03.02

	
	Element/Sub Element
	01. Roofs / 01.03. Pitched Roof Covering and Insulation /

	
	Construction Type     
	Tiles

	
	Condition Grade Bx%
	0

	
	Condition Grade C%  
	35

	
	Condition Grade Cx%
	0

	
	Condition Grade D%  
	


110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) Survey 

	
	Photo Reference
	EFAA/02.03.05

	
	Location
	EFAA

	
	Element Code
	02.03.05

	
	Element/Sub Element
	02. Floors and Stairs / 02.03. Floor Applied Finish /

	
	Construction Type     
	Carpet

	
	Condition Grade Bx%
	0

	
	Condition Grade C%  
	15

	
	Condition Grade Cx%
	0

	
	Condition Grade D%  
	


110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) Survey 

	
	Photo Reference
	EFAA/04.02.07

	
	Location
	EFAA

	
	Element Code
	04.02.07

	
	Element/Sub Element
	04. External Walls, Windows and Doors / 04.02. External Envelope /

	
	Construction Type     
	Exposed Loadbearing Masonry

	
	Condition Grade Bx%
	0

	
	Condition Grade C%  
	5

	
	Condition Grade Cx%
	0

	
	Condition Grade D%  
	


110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) Survey 

	
	Photo Reference
	EFAA/04.02.15

	
	Location
	EFAA

	
	Element Code
	04.02.15

	
	Element/Sub Element
	04. External Walls, Windows and Doors / 04.02. External Envelope /

	
	Construction Type     
	Component Timber Windows & Doors

	
	Condition Grade Bx%
	0

	
	Condition Grade C%  
	100

	
	Condition Grade Cx%
	0

	
	Condition Grade D%  
	0


110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) Survey 

	
	Photo Reference
	EFAA/07.04.02

	
	Location
	EFAA

	
	Element Code
	07.04.02

	
	Element/Sub Element
	07. Mechanical Services / 07.04. Heat Emitters and Pipework /

	
	Construction Type     
	Wet System Emitters

	
	Condition Grade Bx%
	10

	
	Condition Grade C%  
	

	
	Condition Grade Cx%
	

	
	Condition Grade D%  
	


110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) Survey 

	
	Photo Reference
	EFAA/08.06.01

	
	Location
	EFAA

	
	Element Code
	08.06.01

	
	Element/Sub Element
	08. Electrical Services / 08.06. Lighting /

	
	Construction Type     
	Luminaires

	
	Condition Grade Bx%
	5

	
	Condition Grade C%  
	0

	
	Condition Grade Cx%
	0

	
	Condition Grade D%  
	0


110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) Survey 

	
	Photo Reference
	EFAA/09.02.02

	
	Location
	EFAA

	
	Element Code
	09.02.02

	
	Element/Sub Element
	09. Redecorations / 09.02. External - Windows Doors and External Joinery /

	
	Construction Type     
	Painted

	
	Condition Grade Bx%
	0

	
	Condition Grade C%  
	50

	
	Condition Grade Cx%
	0

	
	Condition Grade D%  
	


110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) Survey 

	
	Photo Reference
	EFAA/09.04.02

	
	Location
	EFAA

	
	Element Code
	09.04.02

	
	Element/Sub Element
	09. Redecorations / 09.04. Internal - Ceilings /

	
	Construction Type     
	Painted

	
	Condition Grade Bx%
	0

	
	Condition Grade C%  
	25

	
	Condition Grade Cx%
	0

	
	Condition Grade D%  
	


110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) Survey 
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[bookmark: _Toc485042945][bookmark: _Toc61418916][bookmark: _Toc256000029][bookmark: _Toc256000014]Annex A: How to Read Section 3 – Condition Data
[bookmark: _Hlk494960586]This annex provides a description for each of the row headings in the condition data summary tables found in Section 3 of this report, and explains how to cross-reference with the photos in your photo pack (which will be made available for you to download separately from the CDC2 portal). 
You will need to have your CDC2 site plan to hand when reading this report. It provides a visual key to the block references used in Section 3 of this report, which are explained below.
‘Photo Reference’
This row provides a reference that you can use to look up the relevant photo in the school photo pack, if you want to look at a more detailed photo of the construction type. A photo reference contains the ‘Location’ (site or block) and ‘Construction Type Code’ information from the same row in the table.

[image: ]




Figure 1: Photo reference example

‘Location’
Standard blocks
Site references contain a unique number. Block references (with the exception of ‘ancillary blocks’) are labelled AA-BZ. 
External areas
Some rows in the condition data summary tables in Section 3 will show a site reference only in the location row (i.e. the block reference is absent). This means that the information contained in that row relates to external areas, and is not ‘attached’ to a block.
 (
The condition data in Section 3 does not provide condition information for ‘ancillary blocks’
The CDC2 surveying team do not record condition data for ancillary blocks such as garages, sheds and external stores, which is why ancillary blocks do not appear in the condition data in Section 3.
)


‘Element / Sub Element’ and ‘Construction Type’ 
Condition is assessed for twelve main building ‘elements’. Each of these is split into sub-elements that in turn are split into construction types. 
Example:
	Element:
	01. Roofs

	Sub element:
	01.03. Pitched Roof Covering and Insulation

	Construction type:
	Natural Slates



Table 3: Element, sub element and construction type hierarchy

‘Condition Grade %’ 
These rows set out the condition assessment grade information for each construction type assessed within each block.  
Where there are different grades of condition apparent across a construction type when assessed by the surveyors, a percentage grading is applied. For example, ‘internal flooring’ could have 40% at condition grade D and 60% condition grade C.
The condition grades are defined as follows:
	Grade
	Condition
	Description

	A
	Good
	Performing as intended

	B
	Satisfactory
	Performing as intended, but exhibiting minor deterioration

	C
	Poor
	Exhibiting major defects and/or not operating as intended

	D
	Bad
	Life expired and/or serious risk of imminent failure

	X
	Full Replacement
	Supplementary designation assigned in addition to ‘B’ and ‘C’ where full replacement is required

For example, a boiler may be assessed as “Cx” if the surveyor judges it to be in poor condition but is aware that it is obsolete and that it will no longer be possible to get the necessary spare parts due to its age


Table 4: Condition Grade descriptors



END OF REPORT
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