## Surveyor Summary
Surveyor Summary
Establishment | Date of Site Visit | HSL Issue | HSL Reason
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | 2024-12-16 | No

## Engineer Summary
Engineer Summary
Establishment | Date of Site Visit | HSL Issue | HSL Reason
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | 2024-12-16 | No

## Surveyor Site Summary
Surveyor Site Summary
Establishment | Site Reference | Total Site Area (m2) | Site External Area (m2) | Playing Fields ¦ MUGA Area (m2) | Site Further investigations
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 15845 | 5831 | 10014 | No

## Engineer Site Summary
Engineer Site Summary
Establishment | Site Reference | Site Further investigations
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | No

## Surveyor Block Summary
Surveyor Block Summary
Establishment | Block Reference | Building Age | Block Construction Type | System Build Block Frame (if applicable) | Number of Storeys | Basement Area (m2) | Gross Internal Floor Area (m2) | Ground Floor GIFA (m2) | Perimeter (m) | Average Height (mm) | Catering Kitchen | Block Further investigations
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | Pre 1900 | Traditional (load bearing masonry) |  | 2 | 0 | 1484 | 1345 | 277 | 4600 | Yes | No
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 2011-2020 | Traditional (load bearing masonry) |  | 1 | 0 | 76 | 76 | 27 | 2625 | No | No

## Engineer Block Summary
Engineer Block Summary
Establishment | Block Reference | Block Further investigations
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | No
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | No

## Ancillary Summary
Ancillary Summary

## School Condition Summary
School Condition Summary
Site | Site/Block Reference | Element / Sub Element | Element / Sub Element (2) (2) | Construction Type | Construction Type Code | Basis of Assessment | Grade A - Condition % | Grade A - Priority | Grade B - Condition % | Grade B - Priority | Grade BX - Condition % | Grade BX - Priority | Grade C - Condition % | Grade C - Priority | Grade CX - Condition % | Grade CX - Priority | Grade D - Condition % | Grade D - Priority
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 11. Site Areas & External Areas | 11.01. Underground Drainage | Generally | 11.01.01 | Unseen - Based on School Discussion / Report | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 11. Site Areas & External Areas | 11.03. Boundary Walls and Fences | Timber / Metal / Chain Link | 11.03.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 11. Site Areas & External Areas | 11.03. Boundary Walls and Fences | Hedged or Planted Boundary | 11.03.03 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 11. Site Areas & External Areas | 11.05. Ground Surface | Tarmac / Concrete Roads, Vehicle Hardstandings and Car Parks | 11.05.01 | Seen | 85 | 4 | 15 | 2 | 0 | N/A |  |  | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 11. Site Areas & External Areas | 11.05. Ground Surface | Tarmac / Concrete Paths and Non Vehicle Hardstanding Areas | 11.05.03 | Seen | 0 | N/A | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 11. Site Areas & External Areas | 11.05. Ground Surface | Paving Slabs / Blocks / Brick Paviour Paths and Non Vehicle Hardstanding Areas | 11.05.04 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 11. Site Areas & External Areas | 11.05. Ground Surface | Soft Landscaping / Planted Areas | 11.05.05 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 11. Site Areas & External Areas | 11.05. Ground Surface | Grass | 11.05.06 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 11. Site Areas & External Areas | 11.07. Fences, Walls, Barriers etc (Exc. Site Boundary) | Brick / Block / Concrete / Stone | 11.07.01 | Seen | 0 | N/A | 85 | 3 | 0 | N/A | 15 | 2 | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 11. Site Areas & External Areas | 11.07. Fences, Walls, Barriers etc (Exc. Site Boundary) | Timber / Metal / Chain Link | 11.07.02 | Seen | 0 | N/A | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 11. Site Areas & External Areas | 11.08. Steps and Ramps (Including Balustrading) | Concrete / Brickwork / Stone | 11.08.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 11. Site Areas & External Areas | 11.10. Fixed Furniture & Equipment | Generally | 11.10.01 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 11. Site Areas & External Areas | 11.11. Freestanding Site Lighting | Generally | 11.11.01 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFA1 | 12. Playing Fields | 12.01. Ground Surface | Grass | 12.01.06 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 01. Roofs | 01.01. Structure | Flat Roof Structure and Deck - Generally | 01.01.01 | Unseen - Based on Surveyors Judgement | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 01. Roofs | 01.01. Structure | Pitched Roof Structure - Generally | 01.01.02 | Unseen - Based on Surveyors Judgement | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 01. Roofs | 01.02. Flat Roof Covering and Insulation | Flexible Sheet; Single Ply or Built Up | 01.02.01 | Unseen - Based on Surveyors Judgement |  |  | 50 | 3 | 0 | N/A | 50 | 2 | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 01. Roofs | 01.02. Flat Roof Covering and Insulation | Glazed Areas / Rooflights | 01.02.06 | Unseen - Based on Surveyors Judgement |  |  | 50 | 3 | 0 | N/A | 50 | 2 | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 01. Roofs | 01.03. Pitched Roof Covering and Insulation | Tiles | 01.03.02 | Seen |  |  | 65 | 3 | 0 | N/A | 35 | 2 | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 01. Roofs | 01.03. Pitched Roof Covering and Insulation | Glazed Areas / Rooflights | 01.03.08 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 01. Roofs | 01.04. Flat Roof Drainage | Plastic | 01.04.05 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 01. Roofs | 01.05. Pitched Roof Drainage | Plastic | 01.05.05 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 01. Roofs | 01.06. Fascias Soffits and Peripheral Joinery | Timber | 01.06.01 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 01. Roofs | 01.06. Fascias Soffits and Peripheral Joinery | Plastic | 01.06.03 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 01. Roofs | 01.07. Canopies (Fixed to Blocks) | Glass / Plastics | 01.07.03 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 02. Floors and Stairs | 02.01. Floor Structure | Ground Bearing Solid Floor Structure | 02.01.01 | Unseen - Based on Surveyors Judgement | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 02. Floors and Stairs | 02.01. Floor Structure | Suspended Floor Structure | 02.01.02 | Unseen - Based on Surveyors Judgement | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 02. Floors and Stairs | 02.02. Floor Construction Finish | Concrete (and Screed) Construction | 02.02.01 | Unseen - Based on Surveyors Judgement | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 02. Floors and Stairs | 02.02. Floor Construction Finish | Timber Boarded / Sheeted Construction | 02.02.02 | Unseen - Based on Surveyors Judgement | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 02. Floors and Stairs | 02.03. Floor Applied Finish | Vinyl / Rubber / Cork in Tiles / Sheet | 02.03.03 | Seen | 75 | 4 | 25 | 3 | 0 | N/A |  |  | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 02. Floors and Stairs | 02.03. Floor Applied Finish | Ceramic Tiles / Terrazzo | 02.03.04 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 02. Floors and Stairs | 02.03. Floor Applied Finish | Carpet | 02.03.05 | Seen | 70 | 4 | 15 | 3 | 0 | N/A | 15 | 2 | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 02. Floors and Stairs | 02.04. Internal Staircase Construction | Timber Structure, Treads and Balustrading / Handrails | 02.04.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 03. Ceilings | 03.01. Ceiling Construction | Plaster / Render / Plasterboard / Timber Lining/ Fibreboard / Acoustic Lining | 03.01.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 03. Ceilings | 03.01. Ceiling Construction | Suspended Ceiling; Timber Boarding / Panels / Fibreboard / Acoustic Tiles / Metal Tiles | 03.01.03 | Seen | 85 | 4 | 15 | 3 | 0 | N/A |  |  | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 04. External Walls, Windows and Doors | 04.01. Block Structure | Loadbearing Masonry | 04.01.06 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 04. External Walls, Windows and Doors | 04.02. External Envelope | Exposed Loadbearing Masonry | 04.02.07 | Seen | 85 | 4 | 10 | 3 | 0 | N/A | 5 | 2 | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 04. External Walls, Windows and Doors | 04.02. External Envelope | Component Metal Windows & Doors | 04.02.14 | Seen | 0 | N/A | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 04. External Walls, Windows and Doors | 04.02. External Envelope | Component Timber Windows & Doors | 04.02.15 | Seen | 0 | N/A | 0 | N/A | 0 | N/A | 100 | 2 | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 04. External Walls, Windows and Doors | 04.02. External Envelope | Component PVCu Windows & Doors | 04.02.16 | Seen | 0 | N/A | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 04. External Walls, Windows and Doors | 04.02. External Envelope | 75/25 Part Glazed Part Infill Panel Framed Curtain Walling or Integrated Window & Door Sections | 04.02.18 | Seen | 0 | N/A | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 04. External Walls, Windows and Doors | 04.03. External Envelope Applied Finishes | Exposed Envelope | 04.03.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 04. External Walls, Windows and Doors | 04.03. External Envelope Applied Finishes | Slate / Tile Hanging | 04.03.02 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 05. Internal Walls and Doors | 05.01. Walls and Partitions Construction Finishes and Applied Finishes | Exposed Walls & Partitions Structure / No Finish / Self Finished | 05.01.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 05. Internal Walls and Doors | 05.01. Walls and Partitions Construction Finishes and Applied Finishes | Walls and Partitions Plastered Finish | 05.01.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 05. Internal Walls and Doors | 05.01. Walls and Partitions Construction Finishes and Applied Finishes | Walls and Partitions Applied Ceramic Tiles | 05.01.08 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 05. Internal Walls and Doors | 05.02. Doors | Solid Timber | 05.02.01 | Seen | 0 | N/A | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 05. Internal Walls and Doors | 05.02. Doors | Hollow Core Timber / Laminate | 05.02.02 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 06. Sanitary Ware | 06.01. Sanitary Ware | Generally | 06.01.01 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.01. Heat Source | Hydro-Carbon Heat Source | 07.01.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.01. Heat Source | Combination Boiler | 07.01.05 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.02. Ancillary Plant | Ancillary Plant | 07.02.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.04. Heat Emitters and Pipework | No Heating | 07.04.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.04. Heat Emitters and Pipework | Wet System Emitters | 07.04.02 | Seen | 90 | 4 | 0 | N/A | 10 | 3
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.04. Heat Emitters and Pipework | Terminal/Grille Outlets to Ducted Heat System | 07.04.11 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.04. Heat Emitters and Pipework | Wet System Distribution Pipework | 07.04.12 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.05. Calorifiers & Thermal Sources | Calorifiers Direct & Indiret | 07.05.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.06. Domestic Hot & Cold Water Distribution & Outlets | Hot Water Distribution System (inc outlets) | 07.06.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.06. Domestic Hot & Cold Water Distribution & Outlets | No Hot Water Provision | 07.06.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.06. Domestic Hot & Cold Water Distribution & Outlets | Point of Use Water Heaters | 07.06.03 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.06. Domestic Hot & Cold Water Distribution & Outlets | Cold Water Distribution System (inc tanks & outlets) | 07.06.04 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.08. Mechanical Ventilation | Local Extract | 07.08.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.08. Mechanical Ventilation | Ducted System | 07.08.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.08. Mechanical Ventilation | Kitchen Extract | 07.08.03 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.08. Mechanical Ventilation | No Mechanical Ventilation | 07.08.04 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.08. Mechanical Ventilation | Central Air Handling Unit | 07.08.06 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.09. Air Conditioning | Local Condenser / Pipework | 07.09.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.09. Air Conditioning | Split AC System | 07.09.03 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.09. Air Conditioning | No DX Conditioning | 07.09.04 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.10. Fire Suppression | No Fire Suppression | 07.10.05 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 07. Mechanical Services | 07.11. Above Ground Drainage | Drainage Pipework System | 07.11.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.01. Electrical Distribution | Main Incomer & Main Switch Panel | 08.01.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.01. Electrical Distribution | Distribution Boards (including sub-main cabling) | 08.01.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.01. Electrical Distribution | Outgoing Circuits | 08.01.03 | Unseen - Based on School Discussion / Report | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.03. Automatic Control Systems | BMS | 08.03.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.03. Automatic Control Systems | Time Clock Control | 08.03.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.04. Small Power | Outlets | 08.04.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.06. Lighting | Luminaires | 08.06.01 | Seen | 95 | 4 | 0 | N/A | 5 | 3 | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.06. Lighting | Emergency Lighting | 08.06.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.06. Lighting | External Lighting on Block Facades | 08.06.03 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.07. Fire Alarm | Main Panel | 08.07.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.07. Fire Alarm | Devices/Wiring | 08.07.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.08. Security Systems & Other Alarm Systems | Intruder Alarm System | 08.08.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.08. Security Systems & Other Alarm Systems | Access Control | 08.08.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 08. Electrical Services | 08.09. Communications and Infrastructure | IT infrastructure | 08.09.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 09. Redecorations | 09.01. External - Walls | Unpainted | 09.01.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 09. Redecorations | 09.02. External - Windows Doors and External Joinery | Unpainted | 09.02.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 09. Redecorations | 09.02. External - Windows Doors and External Joinery | Painted | 09.02.02 | Seen |  |  | 50 | 3 | 0 | N/A | 50 | 2 | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 09. Redecorations | 09.03. Internal - Walls and Internal Joinery | Unpainted | 09.03.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 09. Redecorations | 09.03. Internal - Walls and Internal Joinery | Painted | 09.03.02 | Seen | 0 | N/A | 100 | 2 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 09. Redecorations | 09.04. Internal - Ceilings | Unpainted | 09.04.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 09. Redecorations | 09.04. Internal - Ceilings | Painted | 09.04.02 | Seen |  |  | 75 | 3 | 0 | N/A | 25 | 2 | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 10. Fixed Furniture and Fittings | 10.01. Fixed Furniture and Fittings | Teaching - Science, Technology, ICT | 10.01.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 10. Fixed Furniture and Fittings | 10.01. Fixed Furniture and Fittings | Teaching - Sports / Multi-Purpose Use; Sports / Dining / Assembly Halls | 10.01.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 10. Fixed Furniture and Fittings | 10.01. Fixed Furniture and Fittings | Teaching - General / Other (Non Science / Sports) | 10.01.03 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 10. Fixed Furniture and Fittings | 10.01. Fixed Furniture and Fittings | Non-Teaching - Catering Kitchen | 10.01.04 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 10. Fixed Furniture and Fittings | 10.01. Fixed Furniture and Fittings | Non-Teaching - Toilets / Showers / Changing Rooms | 10.01.05 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAA | 10. Fixed Furniture and Fittings | 10.01. Fixed Furniture and Fittings | Non Teaching - Other (Circulation / Cloaks / Admin / Storage / Staff Room / Plant) | 10.01.06 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 01. Roofs | 01.01. Structure | Pitched Roof Structure - Generally | 01.01.02 | Unseen - Based on Surveyors Judgement | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 01. Roofs | 01.03. Pitched Roof Covering and Insulation | Tiles | 01.03.02 | Seen | 0 | N/A | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 01. Roofs | 01.05. Pitched Roof Drainage | Plastic | 01.05.05 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 01. Roofs | 01.06. Fascias Soffits and Peripheral Joinery | Plastic | 01.06.03 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 02. Floors and Stairs | 02.01. Floor Structure | Suspended Floor Structure | 02.01.02 | Unseen - Based on Surveyors Judgement | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 02. Floors and Stairs | 02.02. Floor Construction Finish | Timber Boarded / Sheeted Construction | 02.02.02 | Unseen - Based on Surveyors Judgement | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 02. Floors and Stairs | 02.03. Floor Applied Finish | Vinyl / Rubber / Cork in Tiles / Sheet | 02.03.03 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 03. Ceilings | 03.01. Ceiling Construction | Plaster / Render / Plasterboard / Timber Lining/ Fibreboard / Acoustic Lining | 03.01.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 04. External Walls, Windows and Doors | 04.01. Block Structure | Loadbearing Masonry | 04.01.06 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 04. External Walls, Windows and Doors | 04.02. External Envelope | Exposed Loadbearing Masonry | 04.02.07 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 04. External Walls, Windows and Doors | 04.02. External Envelope | Component Metal Windows & Doors | 04.02.14 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 04. External Walls, Windows and Doors | 04.02. External Envelope | 75/25 Part Glazed Part Infill Panel Framed Curtain Walling or Integrated Window & Door Sections | 04.02.18 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 04. External Walls, Windows and Doors | 04.03. External Envelope Applied Finishes | Exposed Envelope | 04.03.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 05. Internal Walls and Doors | 05.01. Walls and Partitions Construction Finishes and Applied Finishes | Exposed Walls & Partitions Structure / No Finish / Self Finished | 05.01.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 05. Internal Walls and Doors | 05.01. Walls and Partitions Construction Finishes and Applied Finishes | Walls and Partitions Plastered Finish | 05.01.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 05. Internal Walls and Doors | 05.02. Doors | Solid Timber | 05.02.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 07. Mechanical Services | 07.04. Heat Emitters and Pipework | No Heating | 07.04.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 07. Mechanical Services | 07.06. Domestic Hot & Cold Water Distribution & Outlets | No Hot Water Provision | 07.06.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 07. Mechanical Services | 07.08. Mechanical Ventilation | No Mechanical Ventilation | 07.08.04 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 07. Mechanical Services | 07.09. Air Conditioning | No DX Conditioning | 07.09.04 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 07. Mechanical Services | 07.10. Fire Suppression | No Fire Suppression | 07.10.05 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 08. Electrical Services | 08.01. Electrical Distribution | Distribution Boards (including sub-main cabling) | 08.01.02 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 08. Electrical Services | 08.01. Electrical Distribution | Outgoing Circuits | 08.01.03 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 08. Electrical Services | 08.03. Automatic Control Systems | No Automatic Control | 08.03.03 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 08. Electrical Services | 08.04. Small Power | Outlets | 08.04.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 08. Electrical Services | 08.06. Lighting | Luminaires | 08.06.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 09. Redecorations | 09.01. External - Walls | Unpainted | 09.01.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 09. Redecorations | 09.02. External - Windows Doors and External Joinery | Unpainted | 09.02.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 09. Redecorations | 09.03. Internal - Walls and Internal Joinery | Unpainted | 09.03.01 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 09. Redecorations | 09.03. Internal - Walls and Internal Joinery | Painted | 09.03.02 | Seen | 0 | N/A | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 09. Redecorations | 09.04. Internal - Ceilings | Painted | 09.04.02 | Seen | 0 | N/A | 100 | 3 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
110018 Holy Trinity CofE Primary School, Sunningdale (CDC2) | EFAB | 10. Fixed Furniture and Fittings | 10.01. Fixed Furniture and Fittings | Teaching - General / Other (Non Science / Sports) | 10.01.03 | Seen | 100 | 4 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A